Ball Valves

Type 15215

full bore, seat rings glass filled PTFE,

gland packing with PTFE-rings

with lever and locking device without lock

face-to face dimension acc. to DIN EN 558-1 row 27 (F4/5) - short pattern