Ball Valves

Type 15085, Type 15086 - Ball Valve reduced bore

Cryogenic-3-Piece-Ball Valve

Stainless steel body and topwork,

" live loaded " gland packing

" cleaned and degreased for oxygen service "

with upstream pressure relief hole

Marking acc. to EN 1626 and EN 12567