Check Valves

Type 05011, Type 05012

Check Valves, PN16, DIN EN 3845-2

Bronze body, screwed cap in brass

Part No. 05011.X.0000

Female thread connection (G) acc. to ISO 7-1 Rp

Disc with FPM seal