Check Valves

Type 05040

Check Valves, swing type, PN16

Bronze body, screwed cap in brass

Female thread connection (G) acc. to ISO 7-1 Rp