Check Valves

Type 05083

Check Valves, PN16

Bronze body, screwed cap in brass

Flanged connection acc. to DIN EN 1092-1 PN16

Disc with FPM seal

Available options - on request only:

· Disc with PTFE seal