Check Valves

Type 05110

Check Valves, PN16

Body and cap in cast iron

seat and disc in stainless steel, metal to metal seated