Check Valves

Type 05115

Check Valves, PN40

Body in cast steel

seat and disc in stainless steel, metal to metal seated