Check Valves

Type 05413 - Check Valve

Cryogenic-Check Valves, PN50

Bronze body and cap

with spring, opening pressure ca. 0.1 bar

" cleaned and degreased for oxygen service "