Check Valves

Type 05414 - Check Valve

Cryogenic-Check Valves, PN50 (DN100/150=PN40)

Stainless steel body and cap

with spring, opening pressure ca. 0.1 bar

" cleaned and degreased for oxygen service "