Safety Valves

Type 06345, Type 06346

Safety Valves, angle type, cast steel, type tested, TÜV-SV.576. D/G/F

Full lift safety valve

Standard safety valve for fluids

metal to metal seated, with lifting device,

with enlarged outlet

Inlet: Flanged connection acc. to DIN EN 1092-1 PN40

Outlet: Flanged connection acc. to DIN EN 1092-1 PN16