Safety Valves

Type 06347

Safety Valves, angle type, stainless steel

type tested, TÜV-SV.576. D/G/F

Full lift safety valve

Standard safety valve for fluids

metal to metal seated, with lifting device,

closed bonnet, with enlarged outlet

Inlet: Flanged connection acc. to DIN EN 1092-1 PN40

Outlet: Flanged connection acc. to DIN EN 1092-1 PN16