Safety Valves

Type 06370

Safety Valves, angle type, bronze, type tested TÜV-SV.749. F

Standard safety valve

with soft valve seal for fluids, open bonnet,

with diaphragm for protection of the spring, with lifting device

In- and outlet: female thread type G (BSPP) acc. to ISO 228/1