Safety Valves

Type 06372

Safety Valves, angle type, bronze, type tested TÜV-SV.749. S/G

Standard safety valve

with soft valve seal for saturated steam, air and similar gases, open bonnet,

with diaphragm for protection of the spring, with lifting device

In- and outlet: female thread type G (BSPP) acc. to ISO 228/1