Safety Valves

Type 06380

Safety Valves, angle type, bronze, type tested TÜV-SV.749. D/G

Standard safety valve

with soft valve seal, open bonnet, with lifting device

In- and outlet: female thread type G (BSPP) acc. to ISO 228/1