Safety Valves

Type 50051.0011

Safety Valves, angle type, brass, type tested TÜV-SV.1009. D/G

Standard safety valve

with EPDM valve seal for vapours and gases

open bonnet, with lifting device

Outlet: female thread M15x1 with installed hose nozzle

Inlet: male thread type G (BSPP) acc. to ISO 228/1