Safety Valves

Type 06505

Safety Valves, brass,

type tested TÜV-SV.948 Liquid/ Granular/ Powder

Standard safety valve

with FPM valve seal, closed bonnet,

with diaphragm for protection of the spring, with lifting device,

discharge holes with protection cap

Inlet: male thread type G (BSPP) acc. to ISO 228/1