Safety Valves

Type 06506

Safety Valves, stainless steel,

type tested TÜV-SV.948. Liquid/ Granular/ Powder

Standard safety valve

with FPM valve seal, closed bonnet,

with diaphragm for protection of the spring, with lifting device,

discharge holes with protection cap

Inlet: male thread type G (BSPP) acc. to ISO 228/1