Check Valves

Type 05418 - Check Valve, ANSI Flanges

Cryogenic-Check Valves, class 300

Stainless steel body and bronze cap

with spring, opening pressure ca. 0.1 bar

" cleaned and degreased for oxygen service "