Safety Valves

Type 06605

Safety Valves, angle type, bronze, type tested TÜV-SV.1080. D/G

Standard safety valve

with O-ring valve seal,

closed bonnet, with lifting device,

with enlarged outlet

Inlet: male thread NPT acc. to ANSI B 1.20.1

Outlet: female thread type G (BSPP) acc. to ISO 228/1