Safety Valves

Type 06810, Type 06815

Safety Valves, angle type, stainless steel,

type tested, TÜV-SV.1130. D/G/F

Standard safety valve

metal to metal seated, "cleaned and degreased for oxygen service"

closed bonnet, gastight cap or lifting device

Inlet: male thread type G (BSPP) acc. to ISO 228/1

Outlet: female thread type G (BSPP) acc. to ISO 228/1