Gate Valves

Type 09340 - Gate Valve

Cryogenic-Gate Valves, PN50

Stainless steel body and topwork,

one way tightening (in flow direction),

" live loaded " gland packing

" cleaned and degreased for oxygen service "