Gate Valves

Type 09320

Flanged Gate Valves, PN10 - 16, DIN EN 12288

Bronze body and topwork

with maintenance-free gland packing (O-Ring) and non rising stem

flanged connection acc. to DIN EN 1092-3 PN10 or PN16