Gate Valves

Type 09010

Gate Valves, PN16, DIN EN 12288

Bronze body, screwed topwork in brass

with gland packing and non rising stem

Part No. 09010.X.0000

Female thread connection (G) acc. to ISO 7-1 Rp