Gate Valves

Type 09420

Flanged Gate Valves, PN16, DIN EN 12288

Bronze body, screwed topwork in brass

with maintenance-free gland packing (O-Ring)

and non rising stem

flanged connection acc. to DIN EN 1092-3 PN16