Globe Valves

Type 01021

Globe Valves, PN16, DIN 3844

Bronze body, screwed topwork in brass

Female thread connection (G) acc. to ISO 7-1 Rp

Available options - on request only:

· Handwheel in plasic DIN 388-1

· Valve with safety plate in brass