Globe Valves

Type 03021

Globe Valves, PN16

Bronze body, screwed topwork in brass

Flanged connection acc. to DIN EN 1092-1 PN16