Globe Valves

Type 03050

Globe Valves, PN16, DIN 86 260-A

Bronze body and topwork

metal to metal seated

Flanged connection acc. to DIN EN 1092-1 PN16

face-to-face dimension acc. to DIN EN 558-1, Reihe 1

Available options - on request only:

· Disc with PTFE seal

· Valve with control disc (tapered design) and PTFE seal