Globe Valves

Type 03080

Globe Valves, PN16, DIN 3356-1

Body and topwork in cast iron

seat and disc in stainless steel, metal to metal seated

Flanged connection acc. to DIN EN 1092-1 PN16

face-to-face dimension acc. to DIN EN 558-1, Reihe 1

Available options - on request only:

· Angled Valves

· Valve with control disc