Globe Valves

Type 1116 - Globe Valve

Cryogenic-Globe Valves, PN50

Stainless steel body and topwork,

Inner parts made of stainless steel

" live loaded " gland packing

" cleaned and degreased for oxygen service "

Available options - on request only:

· Welded stainless steel stubs acc. to ISO 1127 or

ASTM A312 - length FF + 200mm

· Extension H up to 900mm

· Valve with control disc (tapered design)

· Disc with PTFE/Carbon filled (25%) seal

· Further connection types