Globe Valves

Type 03252 - Bellow Sealed Globe Valve

Cryogenic-Bellow Sealed Globe Valve, class 300

Stainless steel body and topwork,

" live loaded " gland packing

" cleaned and degreased for oxygen service "