Globe Valves

Type 03321 - Globe Valve, DIN EN Flanges

Cryogenic-Globe and Globe/Check Valves, PN40

Stainless steel body and bronze topwork,

" live loaded " gland packing

" cleaned and degreased for oxygen service "