Safety Valves

Type 06002 - gastight

Cryogenic Safety Valves, angle type, brass, PN63, type tested TÜV-SV.1048. S/G

Standard Safety Valve,

gastight, closed bonnet

with carbon filled PTFE valve seal

Outlet: female thread Rc 3/8 acc. to ISO 7/1

"cleaned and degreased for oxygen service"