Safety Valves

Type 06381

Cryogenic Safety Valves, angle type, stainless steel, PN40, type tested TÜV-SV.780. S/G

Standard safety valve

Metal to metal seated, closed bonnet

"cleaned and degreased for oxygen service"