Safety Valves

Type 06418

Cryogenic Safety Valve, angle type, bronze, PN50, type tested TÜV-SV.780. S/G

Full lift safety valve, orifice d0=23mm standard safety valve,

with carbon filled PTFE valve seal, closed bonnet, with lifting device

"cleaned and degreased for oxygen service"