Safety Valves

Type 06425

Cryogenic Safety Valves, angle type, bronze, PN40

d0=7.0 & 10.5mm up to PN50

type tested TÜV-SV.1111. S/G

Standard safety valve,

with PCTFE valve seal (D07 = Metal to metal seated), closed bonnet, with lifting device

"cleaned and degreased for oxygen service"