Safety Valves

Type 06383

Cryogenic Safety Valves, angle type, stainless steel, PN50, type tested TÜV-SV.780. S/G

Full lift safety valve, orifice d0=23mm standard safety valve,

with carbon filled PTFE valve seal, closed bonnet

"cleaned and degreased for oxygen service"