Safety Valves

Type 06426

Cryogenic Safety Valves, angle type, bronze, PN40

d0=7,0 & 10,5mm up to PN50,

type tested TÜV-SV.1111. S/G

Standard safety valve,

with PCTFE valve seal (D07 = Metal to metal seated), closed bonnet, with lifting device

" cleaned and degreased for oxygen servive "