Safety Valves

Type 06472

Cryogenic Safety Valves, angle type, bronze, PN40, type tested TÜV-SV.836. S/G

Standard safety valve,

metal to metal seated, closed bonnet

Outlet: female thread type G 1/2 acc. to ISO 228/1

"cleaned and degreased for oxygen service"