Safety Valves

Type 06474

Cryogenic Safety Valves, angle type, bronze, PN63, type tested TÜV-SV.836. S/G

Standard safety valve,

with carbon filled PTFE valve seal, closed bonnet

Outlet: female thread G 1/2 acc. to ISO 228/1

"cleaned and degreased for oxygen service"