Safety Valves

Type 06800 with bellow seal

Stainless steel bellow sealed Safety Valves, angle type, PN40, type tested TÜV-SV.1105. S/G/L

orifice d0 = 12.5 mm TÜV-SV.1105. only S/G

Standard safety valve,

metal to metal seated, closed bonnet

"cleaned and degreased for oxygen service"