Safety Valves

Type 06806 with bellow seal

Stainless steel bellow sealed Safety Valves, angle type, PN40, type tested TÜV-SV.1105. S/G/L

orifice d0 = 12.5 mm TÜV-SV.1105. only S/G

Standard safety valve,

metal to metal seated, closed bonnet, with lifting device

"cleaned and degreased for oxygen service"

Inlet: male thread NPT acc. to ANSI B 1.20.1, Outlet: female thread NPT acc. to ANSI B 1.20.1