Safety Valves

Type 06127

Safety Valves, angle type, stainless steel

type tested, TÜV-SV.577. D/G/F

Standard safety valve

metal to metal seated, with lifting device,

closed bonnet

Flanged connection acc. to DIN EN 1092-1 PN40