Safety Valves

Type 06205

Safety Valves, brass,

type tested TÜV-SV.1090 D/G

Standard safety valve

with FPM valve seal, open bonnet,

with discharge holes, with lifting device

Inlet: male thread type G (BSPP) acc. to ISO 228/1