Safety Valves

Type 06216, Type 06217 with protection cap

Safety Valves, brass,

type tested TÜV-SV.1090 D/G

Standard safety valve

with FPM valve seal, open bonnet, with discharge holes

Inlet: male thread type G (BSPP) acc. to ISO 228/1