Safety Valves

Type 06316

Safety Valves, angle type, stainless steel, type tested, TÜV-SV.980. D/G/F

Standard safety valve

metal to metal seated, closed bonnet

Inlet: male thread type G (BSPP) acc. to ISO 228/1

Outlet: female thread type G (BSPP) acc. to ISO 228/1