Safety Valves

Type 06318

Safety Valves, angle type, ductile casting GGG-40.3,

type tested, TÜV-SV.847. D/G/F (G 3/8 - G 1/2)

type tested, TÜV-SV.878. D/G/F (G 3/4 - G 1-1/4)

metal to metal seated, closed bonnet

Inlet: male thread type G (BSPP) acc. to ISO 228/1

Outlet: female thread type G (BSPP) acc. to ISO 228/1