Safety Valves

Type 06218, Type 06219

Safety Valves, brass,

type tested TÜV-SV.1090. D/G

Full lift safety valve

with PTFE O-Ring valve seal,

open bonnet, with discharge holes

Inlet: male thread type G (BSPP) acc. to ISO 228/1