Safety Valves

Type 06310

Safety Valves, angle type, ductile casting GGG-40.3,

type tested, TÜV-SV.909. D/G/F

Full lift safety valve

Standard safety valve for fluids

metal to metal seated,

closed bonnet, with lifting device

Inlet: male thread type G (BSPP) acc. to ISO 228/1

Outlet: female thread type G (BSPP) acc. to ISO 228/1